## ATPase assay for dynein (radioactive)

### Reagents:

20 mM silicotungstic acid (Baker, MW 2882) in 10 mM H2SO4

25% suspension of acid washed charcoal (Sigma)

5 mg/ml BSA in H2O

5X ATP mix (5 mM ATP, 5 mM MgSO4, 1 ul 32P-ATP)

5X MT (@ 3 mg/ml tubulin + taxol, warm briefly)

### Assay:

1.	Mix:

30 (l sample

10 (l PEM or MT (for MT activated activity)

10 (l 5X ATP mix

50 (l total

Set up a MT blank if doing MT activated activity assay:

30 (l PEM

10 (l MT

10 (l 5X ATP mix

50 (l total

2.	Incubate room temp. for 20'

3.	stop reaction with 300 (l acid

4.	add 300 (l charcoal (stirred)

5.	incubate on ice 10'

6.	add 100 (l BSA

7.	centrifuge (cold) 1 minute

8.	count 0.3 ml supernate

### To calculate activity:

[sample cpm - blank cpm- MT blank if appropriate] x [ratio: total assay volume/assay volume counted] x [1 nmol/cpm/nmol] x [1/ sample volume]] x [1/assay time]

for example, for a 20' assay, with 30 (l sample, counting 300 (l out of 750 (l total volume:

[sample cpm - blank cpm] x 1.5 x 1 nmol/cpm/nmol x 1/0.03 ml x 1/20'= nmol Pi/ml/min

1/95, Trivinos